CITY OF MARION, IOWA

GENERAL SUPPLEMENT TO SUDAS DESIGN MANUAL

This General Supplement to SUDAS Design Manual amends or supplements the Statewide Urban Design and Standards (SUDAS). All provisions which are not so amended or supplemented remain in full force and effect.

The terms used in these Supplementary Specifications will have the meanings indicated in SUDAS.

Chapter 1 – General Provisions

1C-1 Submittal Procedures

Add the following:

“Ownership of Data

All information collected by the designer and/or surveyor for City improvement projects shall become property of the City of Marion and are subject to open records requests.”

Chapter 2 – Stormwater

2A-1 – General Information

C. Conditions

Replace:

1e: “Street grades are coordinated with lot drainage; drainage slopes shall not be less than 1%. Lot drainage slopes less than 2% shall have a minimum of a 6” tile installed.”

D. Unified Sizing Criteria

1. General Information:

Replace Table 2A-1.01 with the following:

2A-3 – Stormwater Management Criteria

ADD

E.  Private Storm Sewer Connections

“Downspouts from buildings or private yard surface drainage intakes are not allowed to be directly connected to the subdrain or tiled to the sump pump pit.  Downspouts from buildings or private yard surface drainage intakes are allowed to be directly connected to the public storm sewer that is 12 inches in diameter or greater.”

2A-4 – Project Drainage Report

a.  Design Standards:

add

“A forebay or pretreatment system designed in accordance with the essential items listed in section 9-11.1 E of the Iowa Stormwater Management shall be used for all inlets to wet detention basins that drain an area greater than 1 acre.”

d.  Detention Basin Outlet:

add

“4) For wet retention basins the water quality and channel protection volume shall be drained using a structure that draws water from at least 3 feet below the permanent pool surface, such as those presented in figure 9.11-1-11 of the Iowa Stormwater Management Manual.”

2D-1 – General Information for Storm Sewer Design

D.  Physical Requirements

3.  Minimum Pipe Size

Change:

c. Footing Drain Collector Sewers in Public Right-of-way

“6 inches in diameter.”

Chapter 5 – Roadway Design

5B-1 – Street Classifications

E.  Private Streets

Add "Private streets shall be built to public street standards.”

Table 5C-1.01 Preferred Roadway Elements

Add to footnote 9:

“City of Marion Fire allows 26 feet wide low volume residential streets in low density residential areas due to the size of the firefighting apparatus.

Table 5C-1.02: Acceptable Roadway Elements

Add the following to Footnote 15 for Min. horizontal curve radius (ft):

“For local residential streets a minimum centerline radius of 150’ is allowed.  Radius of 100’ may be allowed for local residential streets for cul-de-sacs and loop streets less than 600 feet in length.”

5C-2 – Geometric Design Elements

4.b Vertical Curves

Remove:

“…For both sag and crest vertical curves with a low algebraic difference in grade, sight distance restrictions may not control the design of the curve. In these cases, rider comfort and curve appearance are the primary considerations for vertical curve design. Generally, vertical curves with a minimum length (in feet) equal to three times the design speed (in mph) are acceptable…”

Add:

“Shall be per approved design for constructability as approved by the City.”

Q. Intersection Radii

Add:

“Intersection radii may be modified with permission of the City Engineer”

Table 5C-2.09: Curb Return Radii Based Upon Roadway Classification

For Arterial to Collector and Collector to Arterial Replace:

“Special* with 35 feet”

5F-1 Pavement Thickness Design

D. Determining Pavement Thickness

Add:

“Minimum pavement section for new rigid pavements is 7 inch PCC with 6 inch granular subbase and subbase preparation per SUDAS Standard Specifications Section 2010.”

“Minimum pavement section for all reconstruction pavements is 7 inch PCC with 12 inches granular subbase on geogrid and subbase preparation per SUDAS Stand Specifications Section 2010.”

“Minimum HMA pavement section shall match structural equivalent of rigid pavement above and only allowed with permission of the City Engineer.”

5G-2 Types of Joints

2. Longitudinal Contraction Joints

Add:

“Quarter point jointing is preferred by the City of Marion.”

5L-4 Driveway Design Criteria

B. Width Measurement

Remove and Replace:

“1. Local street residential widths shall be measured on the street side of the sidewalk.  If no sidewalk is present, the width shall be measured at the right of way.

2.  All other widths shall be measured at the right of way or end of driveway curb radius onto the property if the distance is needed to fully construct the allowed radius per Table 5L-4.01”

Table 5L-4.01: Driveway Dimensions

Modify Residential Widths:

“Maximum widths are 24 feet for one or two car garage, and 36 feet for three or more car garage.  Accesses on cul-de-sac bulbs will have a maximum width of 24 feet, or as approved by the City.”

3. For individual properties, the number of entrances should be as follows:

a. Single Family (SF) Residential

Add:

“Maximum total width of accesses combined shall not exceed 36 feet if more than one is allowed, or as approved by the City”

Chapter 6 – Geotechnical

6G-1 – Subsurface Drainage Systems

D. Design

3. Subdrains

d. “Downspouts from buildings or private yard surface drainage intakes are not allowed to be directly connected to the subdrain or tiled to the sump pump pit.  Downspouts from buildings or private yard surface drainage intakes are allowed to be directly connected to the public storm sewer that is 12 inches in diameter or greater.”

Chapter 11 – Street Lighting

11C – 1 Facility Design

Replace:

B. Design Process

1. Local street (streets not designated in Major Streets Plan) streetlights should be located as follows:

a. At all intersections

b. Between intersections streetlights should be spaced not more than 600 feet apart.

c. On all dead end cul-de-sacs if the back of curb of the cul-de-sac is over 300 feet from the nearest intersection.

2. Other relevant factors should be considered for new streetlights:

a. Accident rates.

b. Pedestrian use.

c. Street design (straight or curved).

d. Terrain

3. Streets designated in the Major Streets Plan may need additional streetlights to assure better illumination.  Additional streetlights may also be necessary for Commercial and Industrial areas to assure traffic safety for vehicles entering and existing driveways.

4. Installation responsibility:

a. Cost of installing new streetlights in existing developments is the responsibility of the City

b. Cost of installing streetlights in new subdivisions is the responsibility of the developer.

End of Section

Adopted 2.20.25

City of Marion Resolution 32263